| **Applicant Owned/ Operated Facility**  **Linden Community Schools** | **Address or Parcel ID of Facility** | **Potential to discharge pollutants to surface waters of the state.** | Catch basins | Discharge Point or Outfall | Detention basins | Oil/water separators | Pump Stations | Secondary containment | Constructed wetlands | Infiltration basins and trenches | Porous pavement | Rain gardens | Underground storage vaults or tanks | Vegetated swales | Other structural storm water controls – Provide a description below: |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Vehicle & Equipment storage | On site with Linden High School | High | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | N/A |
| Argentine Elementary | 8483 Silver Lake Rd | Medium | 1 | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Soft Water Lake is behind school property |
| Linden Elementary School | 400 E Bridge St | Low | 20 | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | N/A |
| Linden High School & Central Elementary | 7201 Silver Lake Rd | Medium | 50 | 3 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | N/A |

**No other Facilities not listed above. No other Storm Water Controls not listed above.**