| **Applicant Owned/ Operated Facility**  **Bendle Schools** | **Address or Parcel ID of Facility**  **2317 E Parkwood**  **Burton, MI 48529** | **Potential to discharge pollutants to surface waters of the state.** | Catch basins | Discharge Point or outfall | Detention basins | Oil/water separators | Pump Stations | Secondary containment | Constructed wetlands | Infiltration basins and trenches | Porous pavement | Rain gardens | Underground storage vaults or tanks | Vegetated swales | Other structural storm water controls – Provide a description below: |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Vehicle & Equipment storage | On High School Grounds | Medium | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | N/A, no stormwater structures |
| Bendle High School & Adminstration Building | Bristol Rd | Low | 24 | 5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | N/A |
| Bendle Middle School | Parkwood Ave | Medium | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Building demolished, no stormwater structures |
| Friel Elementary | Friel St. | Low | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | N/A, no stormwater structures |
| Special Education | Columbine Ave | Medium | 6 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | N/A |
| South Bendle Elementary | Larkin Dr. | Low | 4 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | N/A |
| West Bendle Elementary | Cerdan Dr. | Medium | 2 | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | N/A |

**No other Facilities not listed above. No other Storm Water Controls not listed above.**