Outfalls and Points of Discharge Table 1

Fenton Township

|  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| ID # | Outfall/POD | Receiving Water | Latitude | Longitude | Priority | Priority Explanation |
| 5611251 | Point of Discharge | Lake Fenton | -83.7167 | 42.85594 | #Low | Sampled DS as 5611256, roof drains only |
| 5611252 | Outfall | Lake Fenton | -83.7166 | 42.8545 | Medium | Commercial |
| 5611253 | Outfall | Lake Fenton | -83.7163 | 42.85496 | Medium | Commercial |
| 5611254 | Outfall | Lake Fenton | -83.7163 | 42.85535 | Medium | Commercial |
| 5611255 | Outfall | Lake Fenton | -83.7167 | 42.85545 | Medium | Commercial |
| 5632251 | Point of Discharge | Egyptian 0867 | -83.7703 | 42.78948 | Medium | Residential |

Priorities and Priority Explanations were updated March 2023 for new permit cycle.