Outfalls and Points of Discharge Table 1

Mount Morris Township

|  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| **ID #** | **Outfall/POD** | **Receiving Water** | **Latitude** | **Longitude** | **Priority** | **Priority Explanation** |
| 8627501 | Point of Discharge | Hartshorn- Branch #1 0358 | -83.7531 | 43.06421 | #Low | Sampled downstream as #8629773 |
| 8627502 | Point of Discharge | Hartshorn- Branch #1 0358 | -83.7531 | 43.06477 | #Low | Sampled downstream as #8629773 |
| 8622252 | Point of Discharge | Daly Drain 0420 | -83.7386 | 43.08909 | #Low | Sampled downstream as #8614504 |

Outfall list was updated 2021 as part of Audit

Priorities and Priority Explanations were updated March 2023 for new permit cycle.