| **Applicant Owned/ Operated Facility****Flint Community School** | **Address or Parcel ID of Facility**923 E. Kearsley | **Potential to discharge pollutants to surface waters of the state.** | Catch basins | Discharge Point or outfall | Detention basins | Oil/water separators | Pump Stations | Secondary containment | Constructed wetlands | Infiltration basins and trenches | Porous pavement | Rain gardens | Underground storage vaults or tanks | Vegetated swales | Other structural storm water controls – Provide a description below: |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Adminstration Building | 923 E. Kearsley | Low | 3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | No downstream structure found |
| Bus Garage and maintenance facility | Court St | High | 4 | 3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | N/A |
| Carpenter Rd Elementary | E Carpenter Rd | Low | 12 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | N/A |
| Central Kitchen | Walnut St | Low | 6 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | N/A |
| Doyle Ryder Elementary | N Saginaw St | Low | 4 | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | N/A |
| Durant-Tuuri Mott Elementary | University Ave | Low | 15 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | Unable to find two downstream structures |
| Eisenhower Elementary | Pershing St | Low | 3 | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | N/A |
| Flint Head Start (formly Manley Elementary) | Chambers St | Low | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | N/A |
| Freeman Elementary | Ogema Ave | Low | 5 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | N/A |
| Holmes Middle School & Brownell Elementary | Oxley Dr | Low | 21 | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | N/A |
| Garfield Edison School | McClellan St | Low | 8 | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | N/A |
| Mott Adult Ed | Brown St | Low | 4 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | N/A |
| Nethercut Elementary | Crestbrook Ln | Low | 18 | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | N/A |
| Northern High School & Anderson Elementary | Mackina Rd | Low | 59 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | N/A |
| Northwestern High School | W Carpenter Rd | Low | 50 | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | N/A |
| Pierce Elementary | W Vernon Dr | Medium | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | N/A |
| Potter Elementary | N Averill Ave | Low | 4 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 |  |
| Scott Elementary | Lapeer Rd | Medium | 7 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | CB on East side of building unable to find upstream point |
| Sarvis Culture Conference Center | Robert T Longway Blvd | Low | 11 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | N/A |
| Central High & Whittier Middle School  | Crapo Rd | Medium | 15 | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Vacant Building |
| Southwestern Classical Academy | W 12th St | Low | 29 | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | N/A |

**No other Facilities not listed above. No other Storm Water Controls not listed above.**