Outfalls and Points of Discharge Table 1

Vienna Township

|  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| ID # | Outfall/POD | Receiving Water | Latitude | Longitude | Priority | Priority Explanation |
| 9615520 | Point of Discharge | Pine Run | -83.74867666 | 43.178733320 | #Low | Sampled downstream as #9615513 |
| 9622003 | Point of Discharge | Haven & Dexter Street Outlet | -83.74609777 | 43.176760142 | #Low | Sampled downstream as #9615522 |
| 9622002 | Point of Discharge | Haven & Dexter Street Outlet | -83.74502648 | 43.177328178 | #Low | Sampled downstream as #9615522 |
| 9622004 | Point of Discharge | Haven & Dexter Street Outlet | -83.74499989 | 43.176711241 | #Low | Sampled downstream as #9615522 |
| 9614762 | Point of Discharge | Pine Run & Tryon Drain | -83.71993602 | 43.177660068 | Medium | Commercial |

Priorities and Priority Explanations were updated March 2023 for new permit cycle.