| **Applicant Owned/ Operated Facility****Clio Area School** | **Address or Parcel ID of Facility** | **Potential to discharge pollutants to surface waters of the state.** | Catch basins | Discharge Point or outfall | Detention basins | Oil/water separators  | Pump Stations  | Secondary containment  | Constructed wetlands | Infiltration basins and trenches | Porous pavement | Rain gardens | Underground storage vaults or tanks | Vegetated swales | Other structural storm water controls – Provide a description below: |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Administration/ Adult Education Buildings | Rogers Lodge Dr | Medium | 30 | 4 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | N/A |
| Bus Garage & Equipment storage | Vienna Rd | High | 2 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 2 | 0 | N/A |
| AC Edgerton Elementary | Linden Rd | Low | 11 | 1 | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | N/A |
| Clio High School | Mustang Dr | Medium | 30 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | N/A |
| GA Lacure Elementary | N Lewis Rd | N/A | 0 | 0 | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Not in the Urbanized Area |
| GE Garner Elementary | N Clio Rd | Low | 5 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | N/A |

**No other Facilities not listed above. No other Storm Water Controls not listed above.**

**Have three (3) buried detention basins. Every facility has at least one.**

**Updated October 2016**