Outfalls and Points of Discharge Table 1

City of Flushing

| ID # | Outfall/POD | Receiving Water | Latitude | Longitude | Priority | Priority Explanation |
| --- | --- | --- | --- | --- | --- | --- |
| 8534009 | Outfall | Cole Creek 0764 | -83.8645 | 43.05621 | Medium | Residential |
| 8534007 | Outfall | Cole Creek 0764 | -83.8643 | 43.05765 | Medium | Residential |
| 8534010 | Outfall | Cole Creek 0764 | -83.8639 | 43.0586 | Medium | Residential |
| 8527501 | Outfall | Cole Creek 0764 | -83.8635 | 43.06221 | Medium | Residential |
| 8527772 | Outfall | Flint River | -83.8593 | 43.06419 | Medium | Residential |
| 8527780 | Outfall | Flint River | -83.8571 | 43.0627 | Medium | Residential |
| 8527758 | Outfall | Flint River | -83.8572 | 43.0622 | Medium | Residential |
| 8527781 | Outfall | Flint River | -83.8573 | 43.06105 | Medium | Residential |
| 8534257 | Outfall | Flint River | -83.8534 | 43.05908 | Medium | Residential |
| 8534254 | Outfall | Cole Creek 0764 | -83.857 | 43.05323 | Medium | Residential |
| 8535012 | Outfall | Flint River Tributary | -83.8456 | 43.05484 | Medium | Residential |
| 8535013 | Outfall | Flint River Tributary | -83.8462 | 43.05365 | Medium | Residential |
| 8526509 | Outfall | Flint River | -83.8432 | 43.06089 | Medium | Residential |
| 8526501 | Outfall | Flint River | -83.8439 | 43.06109 | Medium | Residential |
| 8526502 | Outfall | Flint River | -83.8473 | 43.0616 | Medium | Residential |
| 8526511 | Outfall | Flint River | -83.849 | 43.06101 | Medium | Residential |
| 8526513 | Outfall | Flint River | -83.8498 | 43.06085 | Medium | Residential |
| 8526751 | Outfall | Flint River | -83.8406 | 43.06119 | Medium | Residential |
| 8526770 | Outfall | Flint River Tributary | -83.8365 | 43.06037 | Medium | Residential |
| 8526771 | Outfall | Flint River Tributary | -83.837 | 43.06039 | Medium | Residential |
| 8526772 | Outfall | Flint River Tributary | -83.8361 | 43.06031 | Medium | Residential |
| 8535252 | Outfall | Flint River Tributary | -83.8387 | 43.05658 | Medium | Residential |
| 8535253 | Outfall | Flint River Tributary | -83.8397 | 43.05501 | Medium | Residential |
| 8535254 | Outfall | Flint River Tributary | -83.8414 | 43.05516 | Medium | Residential |
| 8535255 | Outfall | Flint River Tributary | -83.8391 | 43.0537 | Medium | Residential |
| 8535754 | Outfall | Flint River Tributary | -83.842 | 43.05265 | Low | Mostly undeveloped |
| 8535753 | Outfall | Flint River Tributary | -83.8417 | 43.05264 | Low | Mostly undeveloped |
| 8535752 | Outfall | Flint River Tributary | -83.842 | 43.05217 | Medium | Residential |
| 8535751 | Outfall | Flint River Tributary | -83.8379 | 43.05218 | Medium | Residential |
| 8535256 | Outfall | Flint River Tributary | -83.838 | 43.0536 | Medium | Residential |
| 8535257 | Outfall | Messmore & Cronk 0464 | -83.8347 | 43.05418 | Medium | Residential |
| 8536010 | Outfall | Messmore & Cronk | -83.8313 | 43.05442 | Medium | Residential |
| 8527769 | Outfall | Flint River | -83.8579 | 43.06426 | Medium | Residential |
| 8527256 | Outfall | Flint River | -83.8618 | 43.06704 | Medium | Residential |
| 8527257 | Outfall | Flint River Tributary | -83.8596 | 43.07028 | Medium | Residential |
| 8527258 | Point of Discharge | Schillman Drain | -83.8551 | 43.07118 | #Low | Sampled downstream as #8527260 |
| 8527259 | Point of Discharge | Cheney Drain | -83.853 | 43.07456 | #Low | Sampled downstream as #8522507 |
| 8527765 | Outfall | Flint River | -83.8564 | 43.06307 | Medium | Residential |
| 8527784 | Outfall | Flint River | -83.8568 | 43.06202 | Medium | Residential |
| 8527861 | Outfall | Flint River | -83.8543 | 43.05997 | Medium | Residential |
| 8527862 | Outfall | Flint River | -83.8526 | 43.06018 | Medium | Residential |
| 8526503 | Outfall | Flint River | -83.8489 | 43.06158 | Medium | Residential |
| 8526514 | Outfall | Flint River Tributary | -83.8457 | 43.06533 | Medium | Residential |
| 8526752 | Outfall | Flint River | -83.8382 | 43.06465 | Medium | Residential |
| 8526753 | Outfall | Flint River | -83.8361 | 43.06512 | Medium | Residential |
| 8526754 | Outfall | Flint River | -83.8345 | 43.06411 | Medium | Residential |
| 8525001 | Point of Discharge | Flint River | -83.8307 | 43.06739 | #Low | Sampled downstream as #8524517 |
| 8525002 | Point of Discharge | Flint River | -83.8283 | 43.06729 | #Low | Sampled downstream as #8524517 |
| 8525003 | Point of Discharge | Flint River | -83.8266 | 43.06729 | #Low | Sampled downstream as #8524517 |
| 8525004 | Point of Discharge | Flint River | -83.8255 | 43.06742 | #Low | Sampled downstream as #8524517 |
| 8525502 | Point of Discharge | Flint River | -83.8238 | 43.06071 | #Low | Sampled downstream as #8536262 |
| 8525503 | Point of Discharge | Flint River | -83.823 | 43.06202 | #Low | Sampled downstream as #8536004 |
| 8525751 | Point of Discharge | Flint River | -83.821 | 43.0658 | #Low | Sampled downstream as #8525258 |
| 8525752 | Point of Discharge | French Drain | -83.8173 | 43.06017 | #Low | Sampled downstream as #8536266 |
| 8536002 | Outfall | Flint River | -83.8239 | 43.05701 | Medium | Residential |
| 8536260 | Outfall | Flint River | -83.8194 | 43.05498 | Medium | Residential |
| 8536261 | Point of Discharge | French Drain 0426 | -83.816 | 43.05537 | #Low | Sampled downstream as #8536262 |
| 8525005 | Point of Discharge | Flint River | -83.8255 | 43.06832 | #Low | Sampled downstream as #8524517 |
| 8525006 | Point of Discharge | Flint River | -83.8255 | 43.06923 | #Low | Sampled downstream as #8524517 |
| 8525007 | Point of Discharge | Flint River | -83.8255 | 43.07006 | #Low | Sampled downstream as #8524517 |
| 8525008 | Point of Discharge | Flint River | -83.8255 | 43.0709 | #Low | Sampled downstream as #8524517 |
| 8526252 | Point of Discharge | Bowman- Firman Branch 0195 | -83.8355 | 43.06997 | #Low | Sampled downstream as #8523753 |
| 8525011 | Outfall | Bowman Drain 0062 | -83.8284 | 43.0749 | Medium | Residential |
| 8523751 | Outfall | Bowman- Firman Branch 0195 | -83.8331 | 43.07477 | Medium | Residential |
| 8525009 | Outfall | Bowman Drain 0062 | -83.8255 | 43.07415 | Medium | Residential |
| 8525010 | Outfall | Bowman Drain 1431 | -83.823 | 43.07062 | Medium | Residential |
| 8525501 | Point of Discharge | Flint River | -83.8261 | 43.06196 | #Low | Sampled downstream as #8536262 |
| 8526251 | Outfall | Bowman- Firman Branch 0195 | -83.8386 | 43.07473 | Medium | Residential |
| 8534256 | Outfall | Cole Creek 0764 | -83.8592 | 43.05545 | Medium | Residential |
| 8527504 | Outfall | Cole Creek 0764 | -83.8631 | 43.06637 | Low | Parking Lot |
| 8534011 | Outfall | Cole Creek 0764 | -83.8625 | 43.05824 | Medium | Residential |
| 8534001 | Outfall | Cole Creek 0764 | -83.8632 | 43.05956 | Medium | Residential |
| 8526507 | Outfall | Flint River | -83.8421 | 43.06078 | Medium | Residential |
| 8534251 | Outfall | Cole Creek 0764 | -83.8617 | 43.0554 | Medium | Residential |
| 8534252 | Outfall | Cole Creek 0764 | -83.8596 | 43.05541 | Medium | Residential |
| 8526515 | Outfall | Flint River Tributary | -83.8439 | 43.06331 | Medium | Residential |
| 8526516 | Outfall | Flint River Tributary | -83.8439 | 43.06317 | Medium | Residential |
| 8526517 | Outfall | Flint River Tributary | -83.8438 | 43.06319 | Medium | Residential |
| 8527866 | Outfall | Flint River | -83.853 | 43.06011 | Medium | Residential |
| 8527868 | Outfall | Flint River | -83.8529 | 43.06012 | Medium | Residential |
| 8527751 | Outfall | Flint River | -83.8622 | 43.06713 | Low | Mostly undeveloped |

Priorities and Priority Explanations were updated March 2023 for new permit cycle.