Outfalls and Points of Discharge Table 1

City of Grand Blanc

| ID # | Outfall/POD | Receiving Water | Latitude | Longitude | Priority | Priority Explanation |
| --- | --- | --- | --- | --- | --- | --- |
| 6709751 | Point of Discharge | Thread Creek | -83.6379 | 42.93699 | Medium | Residential |
| 6710506 | Outfall | Thread Creek | -83.6279 | 42.93274 | Medium | Residential |
| 6710504 | Outfall | Thread Creek | -83.6293 | 42.93363 | Medium | Residential |
| 6710520 | Outfall | Thread Creek | -83.6295 | 42.93458 | Medium | Residential |
| 6716258 | Point of Discharge | Mancour Drain 1061 | -83.6371 | 42.92762 | #Low | Sampled downstream as #6710523 |
| 6716253 | Point of Discharge | Mancour Drain 1061 | -83.6372 | 42.92676 | #Low | Sampled downstream as #6710523 |
| 6716251 | Point of Discharge | Mancour Drain 1061 | -83.6371 | 42.92682 | #Low | Sampled downstream as #6710523 |
| 6716252 | Point of Discharge | Mancour Drain 1061 | -83.6371 | 42.92682 | #Low | Sampled downstream as #6710523 |
| 6715010 | Outfall | Mancour Drain 1061 | -83.6316 | 42.93028 | Medium | Residential |
| 6716761 | Point of Discharge | Layman Drain 0385 | -83.6414 | 42.92025 | #Low | Sampled downstream as #6716765 |
| 6716751 | Outfall | Layman Drain 0385 | -83.6367 | 42.91674 | Medium | Residential |
| 6716762 | Point of Discharge | Layman Drain 0385 | -83.6396 | 42.91858 | Medium | Residential |
| 6716763 | Outfall | Layman- Crosby Branch of 0710 | -83.6359 | 42.91839 | Medium | Residential |
| 6716764 | Outfall | Layman- Crosby Branch of 0710 | -83.6336 | 42.91836 | Medium | Residential |
| 6716760 | Outfall | Layman Drain 0385 | -83.6336 | 42.91811 | Medium | Residential |
| 6715510 | Outfall | Layman- Crosby Branch of 0710 | -83.6311 | 42.91696 | Medium | Residential |
| 6715512 | Outfall | Layman- Crosby Branch of 0710 | -83.6284 | 42.91689 | Medium | Residential |
| 6715511 | Outfall | Layman- Crosby Branch of 0710 | -83.6292 | 42.9169 | Medium | Residential |
| 6715513 | Outfall | Layman- Crosby Branch of 0710 | -83.6272 | 42.91592 | Medium | Commercial |
| 6715514 | Outfall | Layman- Crosby Branch of 0710 | -83.6246 | 42.91601 | Medium | Commercial |
| 6710521 | Outfall | Thread Creek | -83.6292 | 42.93732 | Medium | Residential |
| 6710508 | Outfall | Thread Creek | -83.6263 | 42.93118 | Medium | Residential |
| 6710513 | Outfall | Thread Creek | -83.6263 | 42.93117 | Medium | Residential |
| 6710512 | Outfall | Thread Creek | -83.6264 | 42.93133 | Medium | Residential |
| 6715003 | Outfall | Thread Creek | -83.6265 | 42.92938 | Medium | Residential |
| 6715004 | Outfall | Thread Creek | -83.6265 | 42.92939 | Medium | Residential |
| 6715005 | Outfall | Thread Creek | -83.6251 | 42.92915 | Medium | Residential |
| 6715252 | Outfall | Thread Creek | -83.6198 | 42.92696 | Medium | Residential |
| 6715505 | Outfall | Layman Drain 0385 | -83.6222 | 42.92467 | Medium | Residential |
| 6715506 | Point of Discharge | Layman Drain 0385 | -83.6247 | 42.92282 | Medium | Residential |
| 6715515 | Point of Discharge | Layman Drain 0385 | -83.6244 | 42.92307 | Medium | Residential |
| 6715516 | Point of Discharge | Layman Drain 0385 | -83.6244 | 42.92305 | Medium | Residential |
| 6715262 | Outfall | Thread Creek | -83.6172 | 42.92531 | Medium | Residential |
| 6714501 | Outfall | Thread Creek | -83.6095 | 42.9235 | Medium | Residential |
| 6723004 | Outfall | Perry Drain 1132 | -83.6021 | 42.91646 | Medium | Residential |
| 6723005 | Outfall | Perry Drain 1132 | -83.6022 | 42.91605 | Medium | Residential |
| 6714753 | Outfall | Bush Drain | -83.5948 | 42.91917 | Medium | Residential |
| 6714754 | Outfall | Bush Drain 0007 | -83.5947 | 42.92053 | Medium | Residential |
| 6714755 | Outfall | Bush Drain 0007 | -83.5953 | 42.92233 | Medium | Residential |
| 6714756 | Outfall | Bush Drain 0007 | -83.5962 | 42.92279 | Medium | Residential |
| 6714256 | Outfall | Bush Drain 0007 | -83.5987 | 42.92594 | Medium | Residential |
| 6714009 | Outfall | Bush Drain 0007 | -83.603 | 42.92675 | Medium | Residential |
| 6714253 | Outfall | Bush Drain 0007 | -83.5979 | 42.9249 | Medium | Residential |
| 6714757 | Outfall | Bush Drain 0007 | -83.5967 | 42.92378 | Medium | Residential |
| 6715257 | Outfall | Thread Creek | -83.6135 | 42.92707 | Medium | Residential |
| 6715263 | Outfall | Thread Creek | -83.6145 | 42.92754 | Medium | Residential |
| 6715264 | Outfall | Thread Creek | -83.6159 | 42.92696 | Medium | Residential |
| 6711751 | Outfall | Thread Creek | -83.6011 | 42.93345 | Medium | Residential |
| 6711756 | Outfall | Thread Creek | -83.601 | 42.93482 | Medium | Residential |
| 6716254 | Point of Discharge | Mancour Drain 1061 | -83.6344 | 42.92936 | #Low | Sampled downstream as #6710523 |
| 6716255 | Point of Discharge | Mancour Drain 1061 | -83.6344 | 42.92743 | Medium | Residential |
| 6716256 | Point of Discharge | Mancour Drain 1061 | -83.6342 | 42.92751 | Medium | Residential |
| 6716257 | Point of Discharge | Mancour Drain 1061 | -83.634 | 42.92618 | Medium | Residential |
| 6715515 | Point of Discharge | Layman Drain 0385 | -83.6248 | 42.92344 | Medium | Residential |
| 6715265 | Outfall | Thread Creek | -83.615 | 42.92867 | Low | Mostly undeveloped |
| 6715504 | Outfall | Layman Drain 0385 | -83.6222 | 42.92398 | Medium | Residential |
| 6722251 | Outfall | Smith Lake 0710 | -83.6195 | 42.91469 | Medium | Residential |
| 6714010 | Point of Discharge | Thread Creek | -83.6052 | 42.92806 | Medium | Residential |
| 6710514 | Outfall | Thread Creek | -83.6264 | 42.93134 | Medium | Residential |

Outfall list was updated June of 2022 and submitted as part of Reporting Cycle

Priorities and Priority Explanations were updated March 2023 for new permit cycle.